# May-2026 DSM Penalty Summary (01-May-2026 to 31-May-2026)

| Plant | Vedanjay Total (₹) | System Production Total (₹) | Manual Edited Total (₹) | Testing Total (₹) | Best Result |
| --- | --- | --- | --- | --- | --- |
| Sirmour | ₹10,286.03 | ₹17,901.46 | ₹18,144.11 | ₹14,766.46 | Vedanjay |
| Bhupalpally | ₹8,763.67 | ₹12,924.16 | ₹18,113.15 | ₹63,135.13 | Vedanjay |
| Kasipet | ₹18,021.24 | ₹16,807.92 | ₹16,813.68 | ₹39,349.66 | System Production |
| Kothagudem | ₹33,954.46 | ₹57,456.28 | ₹27,401.41 | ₹116,344.49 | Manual Edited |

## OSEPL – May 2026 Settlement Summary

| Schedule | Total DSM Penalty (₹) | Total Payable (₹) | Total Receivable (₹) | Total Net Settlement (₹) |
| --- | --- | --- | --- | --- |
| System (Auto) | 25,98,219 | 24,52,878 | 36,18,789 | -14,42,290 |
| Manual | 14,12,384 | 41,26,305 | 19,45,883 | -37,16,806 |
| Vedanjay (UI) | 8,53,852 | 14,07,283 | 29,83,475 | 7,32,340 |
| Testing Env | 12,14,647 | 26,20,473 | 22,23,778 | -16,01,342 |

## Key Observations & Data Issues

### Sirmour

03-May-2026: Meter Data Issue

04-May-2026: Curtailment Issue

05-May-2026: Meter Data Not Available

### Bhupalpally

04-May-2026: Curtailment Issue

05-May-2026: Meter Data Issue

21-May-2026: Testing Account Shutdown Impact

21-May-2026: Curtailment Impact

### Kasipet

05-May-2026: Meter Data Issue

21-May-2026: Testing Account Shutdown Impact

### Kothagudem

04-May-2026: Curtailment Issue

05-May-2026: Meter Data Issue

21-May-2026: Testing Account Shutdown Impact

21-May-2026: Curtailment Impact

### Common Issues Observed

Meter Data Issue: 05-May-2026

Meter Data Not Available: 05-May-2026 (Sirmour)

Curtailment Impact: 04-May-2026 and 21-May-2026

Testing Account Shutdown: 21-May-2026

Note: Totals include only data from 01-May-2026 to 31-May-2026. June data has been excluded from this analysis.

Site Name – Sirmour	Color Code => Less Penalty	Marginally high penalty	High Penalty State – Madhya Pradesh

Plant Capacity – 5.1 MW Schedule Type – Solar

Penalty Rule – DSM as per Madhya Pradesh SERC bands (≤10% no penalty, >10% slab-based charges)

| Date | Sirmour Site |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Penalties |  |  |  | High Penalty Blocks (Block No & Time& in Rs penalty) |  |  | Observation |  |
|  | Vedanjay | System Production | Manual edited | Testing | Vedanjay | System Production | Manual edited |  |  |
| 31-05-26 |  |  |  | 590.49 |  |  |  |  |  |
| 30-05-26 | 1135.66 | 1974.11 | 1814.13 | 1948.88 | B58 (14:15–14:30) Rs: 64.48 | B36 (08:45–09:00) Rs: 362.35 | B36 (08:45–09:00) Rs: 362.35 | Vedanjay significantly reduced the highest DSM penalty compared to System Production and Manual Edited schedules. The highest penalties in System and Manual schedules occurred due to zero/very low actual generation against scheduled generation during the morning hours. |  |
| 29-05-26 | 0.00 | 0.00 | 0.00 | 0.00 | ZERO PENALTY |  |  |  |  |
| 28-05-26 | 31.49 | 0.00 | 0.00 | 0.00 | B61 (15:00–15:15) Rs: 31.49 | ZERO PENALTY |  | Highest penalty occurred in Vedanjay during Block 61 due to higher scheduled generation compared to actual generation. System Production and Manual Edited schedules did not incur any penalty in this block. |  |
| 27-05-26 | 102.56 | 103.06 | 103.06 | 172.55 | B62 (15:15–15:30) Rs: 44.20 | B62 (15:15–15:30) Rs: 44.95 | B62 (15:15–15:30) Rs: 44.95 | Highest penalty occurred in Block 62 (15:15–15:30). Large deviation between scheduled and actual generation caused the penalty. Vedanjay showed slightly lower penalty than other systems. Indicates better schedule accuracy in Vedanjay system. |  |
| 26-05-26 | 118.35 | 54.90 | 118.35 | 96.98 | B57 (14:00–14:15) Rs: 101.98 | B57 (14:00–14:15) Rs: 38.28 | B57 (14:00–14:15) Rs: 101.98 | Moderate deviation was observed during afternoon hours due to under-generation. - Block 57 → ₹38.28 (Highest – System) - Block 57 → ₹101.98 (Highest – Manual & Vedanjay) |  |

|  |  |  |  |  |  |  |  | Major deviations were mainly observed around 02:00 PM to 02:15 PM. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 25-05-26 | 1214.93 | 1187.13 | 1214.93 | 1222.43 | B53 (13:00–13:15) Rs: 710.94 | B53 (13:00–13:15) Rs: 690.94 | B53 (13:00–13:15) Rs: 710.94 | Major deviation was observed during afternoon hours due to significant under-generation. - Block 53 → ₹690.94 (Highest – System) - Block 53 → ₹710.94 (Highest – Manual & Vedanjay) - Block 52 → ₹486.50 (System) - Block 52 → ₹504.00 (Manual & Vedanjay) Major deviations were mainly observed between 12:45 PM and 01:15 PM. |  |
| 24-05-26 | 40.87 | 10.85 | 40.87 | 40.87 | B60 (14:45–15:00) Rs: 40.87 | B58 (14:15–14:30) Rs: 10.85 | B60 (14:45–15:00) Rs: 40.87 | Minor DSM deviation was observed during afternoon hours due to generation mismatch. Highest penalties observed: - System → B58 (₹10.85) - Vedanjay & Manual → B60 (₹40.87) Major deviations mainly occurred between 02:15 PM to 03:00 PM. |  |
| 23-05-26 | 275.30 | 272.86 | 272.86 | 185.01 | B38 (09:15–09:30) Rs: 75.76 | B38 (09:15–09:30) Rs: 75.76 | B38 (09:15–09:30) Rs: 75.76 | Major deviation was observed during morning and afternoon hours due to significant over-generation. - Block 38 → ₹75.76 (Highest – System, Manual & Vedanjay) - Block 39 → ₹74.00 - Block 40 → ₹54.67 - Block 42 → ₹52.33 Major deviations were mainly observed between 09:15 AM and 12:30 PM. |  |
| 22-05-26 | 332.28 | 243.11 | 332.28 | 347.28 | B58 (14:15–14:30) Rs: 332.28 | B58 (14:15–14:30) Rs: 237.28 | B58 (14:15–14:30) Rs: 332.28 | Major deviation was observed during afternoon hours due to significant under-generation. - Block 58 → ₹237.28 (Highest – System) - Block 58 → ₹332.28 (Highest – Manual & Vedanjay) - Block 55 → ₹5.83 (System) Major deviations were mainly observed around 02:15 PM to 02:30 PM. After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 21-05-26 | 395.05 | 394.05 | 394.05 | 1706.02 | B51 (12:30–12:45) Rs: 208.45 | B51 (12:30–12:45) Rs: 207.70 | B51 (12:30–12:45) Rs: 207.70 | Major deviation was observed during noon hours due to significant under-generation. - Block 51 → ₹207.70 (Highest – System & Manual) - Block 51 → ₹208.45 (Highest – Vedanjay) - Block 43 → ₹186.35 (System & Manual) - Block 43 → ₹186.60 (Vedanjay) Major deviations were mainly observed between 10:30 AM and 12:45 PM. After this period, deviation reduced and remained within acceptable limits for the rest of the day. For all sites, the testing account was shut down from Block 61 to Block 66. Due to this shutdown, penalties were observed in Blocks 64 to 66. |  |

|  |  |  |  |  |  |  |  | curtailment was applied in both the testing and production accounts. Due to this, the penalties are comparatively high. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 20-05-26 | 694.35 | 701.85 | 694.35 | 714.35 | B57 (14:00–14:15) Rs: 547.90 | B57 (14:00–14:15) Rs: 497.90 | B57 (14:00–14:15) Rs: 547.90 | Major deviation was observed during afternoon hours due to significant under-generation. - Block 57 → ₹497.90 (Highest – System) - Block 57 → ₹547.90 (Highest – Manual & Vedanjay) - Block 46 → ₹203.95 (System) - Block 46 → ₹146.45 (Manual & Vedanjay) Major deviations were mainly observed between 11:15 AM and 02:15 PM. After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 19-05-26 | 81.10 | 80.48 | 80.48 | 80.48 | B37 (09:00–09:15) Rs: 189.50 | B37 (09:00–09:15) Rs: 189.50 | B37 (09:00–09:15) Rs: 189.50 | Major deviation was observed during morning hours due to significant under-generation. - Block 37 → ₹189.50 (Highest – System, Manual & Vedanjay) - Block 36 → ₹33.96 (System) - Block 36 → ₹110.21 (Manual) Major deviations were mainly observed between 08:45 AM and 09:15 AM. After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 18-05-26 | 769.94 | 512.38 | 769.94 | 506.09 657.44 | B59 (14:30–14:45) Rs:169.69 | B51 (12:30–12:45) Rs:143.80 | B59 (14:30–14:45) Rs:169.69 | Major deviation was observed during afternoon hours due to significant under-generation. - Block 51 → ₹143.80 (Highest – System) - Block 59 → ₹169.69 (Highest – Manual & Vedanjay) - Block 56 → ₹168.90 - Block 63 → ₹159.61 - Block 51 → ₹131.30 (Manual & Vedanjay) - Block 55 → ₹51.79 - Block 62 → ₹76.48 Major deviations were mainly observed between 12:30 PM and 15:45 PM. After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 17-05-26 | 0.00 | 0.00 | 0.00 | 0.00 73.90 | ZERO PENALTY |  |  | No penalty observed |  |
| 16-05-26 | 31.34 | 31.21 | 31.34 | 31.34 0.00 | B59 (14:30–14:45) Rs: 10.97 | B59 (14:30–14:45) Rs: 11.34 | B59 (14:30–14:45) Rs: 11.34 | Minor deviation was observed during afternoon hours due to over-generation. - Highest penalty observed at Block 59 (14:30–14:45) - System & Manual → ₹11.34 - Vedanjay → ₹10.97 Additional small penalties were observed between 13:30 PM and 14:30 PM. Overall, deviations remained within acceptable limits throughout the day. |  |
| 15-05-26 | 161.85 | 203.69 | 161.85 | 167.04 | B64 (15:45–16:00) Rs:118.86 | B64 (15:45–16:00) Rs: 67.82 | B64 (15:45–16:00) Rs:118.86 | Major deviation occurred during afternoon hours due to under-generation. - Block 64 (15:45–16:00) showed the maximum deviation: |  |

|  |  |  |  | 185.30 |  |  |  | - System Penalty → ₹67.82 - Manual & Vedanjay Penalty → ₹118.86 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | Additional penalties were observed during: - Block 34 (08:15–08:30) - Blocks 57–59 (14:00–14:45) The remaining blocks were mostly within acceptable deviation limits. |  |
| 14-05-26 | 138.83 | 138.83 | 138.83 | 138.83 | B68 (16:45–17:00) Rs:25.57 | B68 (16:45–17:00) Rs:25.57 | B68 (16:45–17:00) Rs:25.57 | Moderate deviation was observed during afternoon and evening periods due to over-generation followed by under-generation. - Block 56 → ₹19.70 - Block 57 → ₹24.71 - Block 58 → ₹21.31 - Block 68 → ₹25.57 (Highest penalty) - Block 69 → ₹22.26 After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 13-05-26 | 865.61 | 938.08 | 938.08 | 1084.68 | B54 (13:15–13:30) Rs:404.31 | B54 (13:15–13:30) Rs: 398.56 | B54 (13:15–13:30) Rs: 398.56 | Major deviation was observed during the afternoon period due to significant under-generation, resulting in high penalties. - Block 50 → ₹63.74 - Block 51 → ₹53.11 - Block 54 → ₹398.56 (Highest – System & Manual) - Block 54 → ₹404.31 (Highest – Vedanjay) - Block 55 → ₹282.41 - Block 58 → ₹41.64 (Vedanjay) - Block 59 → ₹28.11 After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 12-05-26 | 7.97 | 266.89 | 7.97 | 159.69 | B63 (15:30–15:45) Rs: 7.97 | B63 (15:30–15:45) Rs: 50.39 | B63 (15:30–15:45) Rs: 7.97 | Moderate deviation was observed during the afternoon period due to over-generation. - Block 55 → ₹11.63 - Block 57 → ₹19.20 - Block 60 → ₹21.00 - Block 61 → ₹26.97 - Block 62 → ₹48.26 - Block 63 → ₹50.39 (Highest – System) Manual Edited and Vedanjay schedules maintained deviations within acceptable limits with only a minor penalty at: - Block 63 → ₹7.97 After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 11-05-26 | 166.73 | 166.73 | 166.73 | 166.73 | B59 (14:30–14:45) Rs:70.83 | B59 (14:30–14:45) Rs:70.83 | B59 (14:30–14:45) Rs:70.83 | Major deviation was observed during the afternoon period due to both over-generation and under-generation. - Block 53 → ₹25.72 - Block 54 → ₹46.68 - Block 59 → ₹70.83 (Highest penalty) - Block 60 → ₹7.53 - Block 61 → ₹8.48 - Block 62 → ₹7.49 After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |

| 10-05-26 | 97.82 | 53.00 | 97.82 |  | B56 (13:45–14:00) Rs: 97.65 | B56 (13:45–14:00) Rs: 29.97 | B56 (13:45–14:00) Rs: 97.65 | Minor deviation was observed during the afternoon period due to over-generation and under-generation. - Block 54 → ₹29.97 (Highest – System) - Block 56 → ₹97.65 (Highest – Manual & Vedanjay) After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 09-05-26 | 1280.47 | 1874.80 | 1864.87 |  | B55 (13:30–13:45) Rs:353.50 | B55 (13:30–13:45) Rs:593.69 | B55 (13:30–13:45) Rs: 593.69 | Major deviation was observed from Block 53 to 56 (13:00–14:00) due to significant under-generation, resulting in high penalties. - Block 53 → ₹376.70 - Block 54 → ₹593.69 (Highest – System & Manual) - Block 55 → ₹353.50 (Highest – Vedanjay) - Block 56 → ₹232.80 Additional deviations were observed during afternoon blocks: - Block 58 → ₹99.09 - Block 60 → ₹142.17 (Manual & Vedanjay) - Block 61 → ₹64.47 After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 08-05-26 | 53.58 | 53.58 | 53.58 | 4978.45 | B60 (14:45–15:00) Rs:15.55 | B60 (14:45–15:00) Rs:15.55 | B60 (14:45–15:00) Rs:15.55 | From Block 56 to 62 (13:45–15:30), slight over-generation caused moderate deviations and low penalties. - Block 56 → ₹6.05 - Block 57 → ₹13.69 - Block 58 → ₹4.73 - Block 59 → ₹2.34 - Block 60 → ₹15.55 (Highest penalty) - Block 61 → ₹7.29 - Block 62 → ₹3.94 After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 07-05-26 | 156.71 | 198.37 | 156.71 |  | B55 (13:30–13:45) Rs:78.58 | B56 (13:45–14:00) Rs: 59.16 | B55 (13:30–13:45) Rs:78.58 | From Block 55 to 58 (13:30–14:30), deviation increased beyond the allowed band, resulting in moderate penalties. The plant experienced both under-generation and over-generation during this period: - Block 55 → ₹78.58 (Highest – Manual & Vedanjay) - Block 56 → ₹59.16 (Highest – System) - Block 57 → ₹50.33 - Block 58 → ₹42.66 After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 06-05-26 | 47.56 | 47.56 | 47.56 |  | B58 (14:15–14:30) Rs:16.95 | B58 (14:15–14:30) Rs:16.95 | B58 (14:15–14:30) Rs:16.95 | Minor deviation periods were observed during the afternoon session. From Block 54 to 55 (13:15–13:45), slight over-generation caused low penalties: - Block 54 → ₹14.56 - Block 55 → ₹14.23 Another small deviation occurred at: - Block 58 → ₹16.95 (Highest penalty) - Block 60 → ₹1.82 |  |

|  |  |  |  |  |  |  | Overall, the plant operated within acceptable deviation limits for most of the day, and only minor penalties were observed. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 05-05-26 | 380.81 | 6716.34 | 6960.18 | B54(13:15-13:30) Rs 127.19 | Meter data was not available for the following blocks - Block 1 to 22 - Block 33 to 34 - Block 43 to 47 - Block 50 to 53 - Block 74 - Block 79 to 80 - Block 84 to 87 - Block 94 to 96 |  |  |  |
| 04-05-26 | 1328.65 | 1284.30 | 1287.30 | B61 (15:00–15:15) Rs: 173.54 | B61 (15:00–15:15) Rs: 173.54 | B62 (15:15–15:30) Rs: 157.93 | CURTALIMENT ISSUE |  |
| 03-05-26 | 29.27 | 29.89 | 29.89 | B57 (14:00–14:15) Rs:11.34 | B57 (14:00–14:15) Rs:11.34 | B57 (14:00–14:15) Rs:11.34 | From Block 56 to 59 (13:45–14:45), deviation slightly exceeded the allowed band. The plant experienced moderate over-generation, resulting in low penalties - Block 56 → ₹3.04 - Block 57 → ₹11.34 (Highest penalty) - Block 58 → ₹10.67 - Block 59 → ₹4.84 After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 02-05-26 | 346.95 | 363.41 | 366.10 | B52 (12:45–13:00) Rs:222.82 | B52 (12:45–13:00) Rs:222.82 | B52 (12:45–13:00) Rs:222.82 | At Block 52 (12:45–13:00), a sharp deviation occurred beyond the allowed band. The plant experienced major under-generation - Block 52 → ₹222.82 (Highest penalty) After this block, deviation improved and remained within acceptable limits for most of the day, with only minor penalties observed later. |  |

Site Name – Bhupalpally State – Telangana

Plant Capacity – 10 MW Schedule Type – Solar

Penalty Rule – DSM as per Telangana SERC bands (≤15% no penalty, >15% slab-based charges with increasing rates)

| Date | Bhupalpally Site |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Penalties |  |  |  | High Penalty Blocks (Block No & Time& in Rs penalty) |  |  | Observation |  |
|  | Vedanj ay | System Production | Manual edited | Testing | Vedanjay | System Production | Manual edited |  |  |
| 31-05-26 | 0.00 | 0.00 | 0.00 | 0.00 | ZERO PENALTY |  |  |  |  |
| 30-05-26 | 257.99 | 235.06 | 257.99 | 292.56 | B62 (15:15–15:30) Rs: 168.83 | B62 (15:15–15:30) Rs: 168.83 | B62 (15:15–15:30) Rs: 168.83 | Highest penalty occurred during Block 62 due to a sharp drop in actual generation compared to scheduled generation. All three systems recorded the same penalty because the schedules were identical. |  |
| 29-05-26 | 0.00 | 179.44 | 0.00 | 0.00 | ZERO PENALTY | B58(14:15-14:30) Rs 105.23 | ZERO PENALTY |  |  |
| 28-05-26 | 0.00 | 0.00 | 0.00 | 0.00 | ZERO PENALTY |  |  |  |  |
| 27-05-26 | 48.35 | 49.45 | 49.45 | 7.10 | B54 (13:15–13:30) Rs: 48.35 | B54 (13:15–13:30) Rs: 30.85 | B54 (13:15–13:30) Rs: 30.85 | Highest penalty occurred during Block 54 due to large negative deviation between scheduled and actual generation. Vedanjay recorded higher penalty compared to System Production and Manual Edited schedules. |  |
| 26-05-26 | 355.59 | 378.70 | 348.09 | 519.33 | B65 (16:00–16:15) Rs: 124.36 | B65 (16:00–16:15) Rs: 136.22 | B65 (16:00–16:15) Rs: 124.36 | Major deviation was observed during evening hours due to significant under-generation. - Block 65 → ₹136.22 (Highest – System) - Block 65 → ₹124.36 (Highest – Manual & Vedanjay) Major deviations were mainly observed between 04:00 PM and 04:15 PM. |  |

| 25-05-26 | 4082.45 | 7572.13 | 13044.64 | 5909.77 | B43 (10:30–10:45) Rs: 415.79 | B42 (10:15–10:30) Rs: 882.39 | B43 (10:30–10:45) Rs: 1139.54 | Major deviation was observed during morning and noon hours due to significant under-generation. - Block 42 → ₹882.39 (Highest – System) - Block 43 → ₹1139.54 (Highest – Manual) - Block 43 → ₹415.79 (Highest – Vedanjay) Major deviations were mainly observed between 08:00 AM and 12:15 PM. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 24-05-26 | 0.00 | 0.00 | 0.00 | 0.00 | ZERO PENALTY |  |  |  |  |
| 23-05-26 | 252.99 | 613.56 | 265.78 | 443.24 | B51 (12:30–12:45) Rs: 153.01 | B51 (12:30–12:45) Rs: 152.51 | B51 (12:30–12:45) Rs: 152.51 | Major deviation was observed during noon hours due to significant under-generation. - Block 51 → ₹153.01 (Highest – Vedanjay) - Block 51 → ₹152.51 (Highest – System & Manual) - Additional penalties were observed around Block 50 to Block 52. Major deviations were mainly observed between 11:45 AM and 01:00 PM. |  |
| 22-05-26 | 40.26 | 40.26 | 40.26 | 44.02 | B44 (10:45–11:00) Rs: 40.26 | B44 (10:45–11:00) Rs: 40.26 | B44 (10:45–11:00) Rs: 40.26 | Moderate deviation was observed during morning hours due to under-generation. - Block 44 → ₹40.26 (Highest – System, Manual & Vedanjay) Minor deviations were observed during the remaining periods, and overall generation remained within acceptable deviation limits for most of the day. |  |
| 21-05-26 | 0.00 | 0.00 | 0.00 | 1104.76 | ZERO PENALTY |  |  | For all sites, the testing account was shut down from Block 61 to Block 66. Due to this shutdown, penalties were observed in Blocks 64 to 66. curtailment was applied in both the testing and production accounts. Due to this, the penalties are comparatively high. |  |
| 20-05-26 | 0.00 | 0.00 | 0.00 | 0.00 | ZERO PENALTY |  |  |  |  |
| 19-05-26 | 0.00 | 0.00 | 0.00 | 0.00 | ZERO PENALTY |  |  |  |  |
| 18-05-26 | 62.04 | 143.81 | 406.81 | 356.30 161.31 | B35 (08:30–08:45) Rs: 34.03 | B35 (08:30–08:45) Rs: 67.78 | B35 (08:30–08:45) Rs: 153.06 | Major deviation was observed during morning hours due to significant under-generation. - Block 35 → ₹67.78 (Highest – System) - Block 35 → ₹153.06 (Highest – Manual) - Block 35 → ₹34.03 (Highest – Vedanjay) - Block 34 → ₹54.26 (System) - Block 34 → ₹136.02 (Manual) - Block 36 → ₹86.77 (Manual) Major deviations were mainly observed between 08:15 AM and 09:00 AM. After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 17-05-26 | 0.00 | 0.00 | 0.00 | 6.24 0.00 | ZERO PENALTY |  |  | Penalty observed in testing environment in B35(08:30-08:45) |  |
| 16-05-26 | 0.00 | 0.00 | 0.00 | 0.00 0.00 | ZERO PENALTY |  |  | No penalty observed |  |

| 15-05-26 | 25.64 | 72.31 | 27.34 | 25.26 33.14 | B51 (12:30–12:45) Rs: 25.64 | B45(11:00–11:15) Rs: 46.67 | B51 (12:30–12:45) Rs: 5.64 | Moderate deviation was observed during late morning and afternoon periods due to under-generation. - Block 45 (11:00–11:15) showed the highest System penalty → ₹46.67 - Block 51 (12:30–12:45) showed the highest Manual & Vedanjay penalty → ₹25.64 Minor additional deviation was observed around Block 32 in the Manual schedule. Overall, remaining blocks stayed within acceptable deviation limits. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 14-05-26 | 3.96 | 6.46 | 3.71 | 22.96 | B61 (15:00–15:15) Rs: 3.96 | B61 (15:00–15:15) Rs: 6.46 | B61 (15:00–15:15) Rs: 3.71 | Minor deviation was observed during the afternoon period due to under-generation. - Block 61 → ₹6.46 (Highest – System) - Block 61 → ₹3.71 (Highest – Manual) - Block 61 → ₹3.96 (Highest – Vedanjay) All other blocks remained within acceptable deviation limits with negligible penalties. |  |
| 13-05-26 | 0.00 | 0.00 | 0.00 | 0.00 | ZERO PENALTY |  |  |  |  |
| 12-05-26 | 0.00 | 0.00 | 0.00 | 0.00 | ZERO PENALTY |  |  |  |  |
| 11-05-26 | 495 | 270.57 | 340.82 | 444.87 |  | B41 (10:00–10:15) Rs: 104.38 | B41 (10:00–10:15) Rs: 104.38 | Major deviation was observed during the morning period due to significant under-generation, resulting in penalties. - Block 34 → ₹49.25 (System) / ₹69.38 (Manual) - Block 35 → ₹35.44 (System) / ₹57.07 (Manual) - Block 37 → ₹71.33 - Block 41 → ₹104.38 (Highest penalty) After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 10-05-26 | 0.00 | 0.00 | 0.00 |  | ZERO PENALTY |  |  |  |  |
| 09-05-26 | 1397.32 | 1410.57 | 1395.95 |  | Block 43 (10:30–10:45) Rs:566.58 | Block 43 (10:30–10:45) Rs: 565.08 | B43 (10:30–10:45) Rs: 565.08 | Major deviation was observed from Block 40 to 44 (09:45–11:00) due to significant under-generation, resulting in high penalties. - Block 40 → ₹93.03 - Block 42 → ₹64.97 - Block 43 → ₹565.08 (Highest – System & Manual) - Block 43 → ₹566.58 (Highest – Vedanjay) - Block 44 → ₹118.95 Another deviation period was observed at: - Block 53 → ₹289.94 - Block 54 → ₹253.08 After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 08-05-26 | 95.37 | 619.83 | 326.35 | 52352.76 | B57 (14:00–14:15) Rs: 63.35 | B32 (07:45–08:00) Rs: 202.07 | B54 (13:15–13:30) Rs: 66.67 | A major deviation was observed in the System schedule during the morning session due to zero scheduling: - Block 31 → ₹91.40 - Block 32 → ₹202.07 (Highest – System) Another over-generation period was observed from Block 52 to 57 (12:45–14:15): - Block 52 → ₹21.48 - Block 53 → ₹52.05 - Block 54 → ₹66.67 (Highest – Manual) - Block 55 → ₹64.98 |  |

|  |  |  |  |  |  |  |  | - Block 57 → ₹63.35 (Highest – Vedanjay) After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 07-05-26 | 237.50 | 237.50 | 314.00 |  | B58 (14:15–14:30) Rs: 74.48 | B58 (14:15–14:30) Rs: 73.98 | B58 (14:15–14:30) Rs: 73.98 | From Block 55 to 60 (13:30–15:00), deviation sharply increased due to significant over-generation, resulting in major penalties. - Block 55 → ₹67.18 - Block 56 → ₹49.15 - Block 58 → ₹73.98 (Highest – System & Manual) - Block 58 → ₹74.48 (Highest – Vedanjay) - Block 59 → ₹26.59 - Block 60 → ₹14.88 Additional penalties were observed in the Manual Edited schedule at: - Block 62 → ₹52.63 - Block 64 → ₹21.00 After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 06-05-26 | 440.92 | 132.98 | 101.42 |  | B50 (12:15–12:30) Rs: 69.49 | B39 (09:30–09:45) Rs: 44.30 | B39 (09:30–09:45) Rs: 78.80 | An initial deviation occurred at: - Block 39 (09:30–09:45) - ₹44.30 (System) - ₹78.80 (Manual – Highest) - ₹41.30 (Vedanjay) Another major deviation period was observed from Block 44 to 52 (10:45–13:00), where continuous over-generation led to penalties, especially in the Vedanjay schedule: - Block 44 → ₹56.26 - Block 45 → ₹40.27 - Block 46 → ₹40.49 - Block 47 → ₹42.76 - Block 48 → ₹45.15 - Block 49 → ₹55.29 - Block 50 → ₹69.49 (Highest – Vedanjay) - Block 51 → ₹43.08 A smaller deviation was also observed at: - Block 54 → ₹22.62 (Manual) - Block 58 → ₹9.25 (System) After these periods, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 05-05-26 | METER DATA ISSUE |  |  |  |  |  |  |  |  |
| 04-05-26 | 292.25 | 292.25 | 292.25 |  | B67(16:30–16:45) Rs: 179.81 | B67(16:30–16:45) Rs: 179.81 | B67(16:30–16:45) Rs: 179.81 | CURTALIMENT ISSUE |  |
| 03-05-26 | 676.04 | 669.28 | 898.29 |  | B57 (14:00–14:15) Rs: 221.45 | B57 (14:00–14:15) Rs: 222.45 | B57 (14:00–14:15) Rs: 222.45 | From Block 32 to 34 (07:45–08:30), deviation increased due to under-generation, resulting in moderate penalties. A major deviation occurred at Block 57 (14:00–14:15), where the plant experienced significant under-generation, leading to the highest penalty of the day: - Block 57 → ₹222.45 (System & Manual), ₹221.45 (Vedanjay) After this, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 02-05-26 | 0.00 | 0.00 | 0.00 |  | ZERO PENALTY |  |  | No penalties observed across all systems |  |

Site Name – Kasipet State – Telangana

Plant Capacity – 15MW Schedule Type – Solar

Penalty Rule – DSM as per Telangana SERC bands (≤15% no penalty, >15% slab-based charges with increasing rates)

| Date | kasipet Site |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Penalties |  |  |  | High Penalty Blocks (Block No & Time& in Rs penalty) |  |  | Observation |  |
|  | Vedanjay | System Production | Manual edited | Testing | Vedanjay | System Production | Manual edited |  |  |
| 31-05-26 | 2309.83 | 1241.83 | 1683.79 | 2045.83 | B59 (14:30–14:45) Rs: 780.72 | B62 (15:15–15:30) Rs: 396.50 | B62 (15:15–15:30) Rs: 471.50 | Highest penalty occurred due to a sharp drop in actual generation during afternoon hours. Vedanjay recorded the highest penalty in Block 59, while System Production and Manual Edited schedules recorded their highest penalties in Block 62. |  |
| 30-05-26 | 552.90 | 552.90 | 552.90 | 929.07 | B54 (13:15–13:30) Rs: 323.20 | B54 (13:15–13:30) Rs: 323.20 | B54 (13:15–13:30) Rs: 323.20 | Highest penalty occurred during Block 54 due to a sharp drop in actual generation compared to scheduled generation. All three systems recorded the same penalty because the schedules were identical. |  |
| 29-05-26 | 0.00 | 0.00 | 0.00 | 0.00 | ZERO PENALTY |  |  |  |  |
| 28-05-26 | 1059.53 | 1059.53 | 1059.53 | 1702.09 | B57 (14:00–14:15) Rs: 453.86 | B57 (14:00–14:15) Rs: 453.86 | B57 (14:00–14:15) Rs: 453.86 | Highest penalty occurred during Block 57 due to a very large negative deviation between scheduled and actual generation. All three systems recorded the same penalty because the schedules were identical. |  |

| 27-05-26 | 187.28 | 155.40 | 177.90 | 142.35 | B63 (15:30–15:45) Rs: 116.28 | B63 (15:30–15:45) Rs: 116.28 | B63 (15:30–15:45) Rs: 116.28 | Highest penalty occurred during Block 63 due to a very large positive deviation between scheduled and actual generation. All three systems recorded the same penalty because the schedules were identical. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 26-05-26 | 2980.79 | 3209.49 | 2983.29 | 4566.58 | B62 (15:15–15:30) Rs: 537.40 | B62 (15:15–15:30) Rs: 584.85 | B62 (15:15–15:30) Rs: 537.40 | Major deviation was observed during afternoon hours due to significant under-generation. - Block 62 → ₹584.85 (Highest – System) - Block 62 → ₹537.40 (Highest – Manual & Vedanjay) Major deviations were mainly observed between 03:00 PM and 03:30 PM. |  |
| 25-05-26 | 974.48 | 1228.71 | 974.48 | 2484.48 | B57 (14:00–14:15) Rs: 247.53 | B61 (15:00–15:15) Rs: 345.30 | B57 (14:00–14:15) Rs: 247.53 | Major deviation was observed during afternoon hours due to significant under-generation. - Block 61 → ₹345.30 (Highest – System) - Block 57 → ₹247.53 (Highest – Manual & Vedanjay) Major deviations were mainly observed between 02:00 PM and 03:15 PM. |  |
| 24-05-26 | 751.24 | 323.37 | 323.37 | 370.12 | B55 (13:30–13:45) Rs: 429.15 | B53 (13:00–13:15) Rs: 142.82 | B53 (13:00–13:15) Rs: 142.82 | Major DSM deviations were observed during afternoon hours due to generation fluctuation and schedule mismatch. Highest penalties: - System & Manual → B53 (₹142.82) - Vedanjay → B55 (₹429.15) Major deviations mainly occurred between 01:00 PM to 02:30 PM. |  |
| 23-05-26 | 0.00 | 0.00 | 0.00 | 0.92 | ZERO PENALTY |  |  |  |  |
| 22-05-26 | 385.36 | 494.26 | 494.26 | 0.00 | B38 (09:15–09:30) Rs: 75.76 | B38 (09:15–09:30) Rs: 75.76 | B38 (09:15–09:30) Rs: 75.76 | Major deviation was observed during morning and afternoon hours due to significant over-generation. - Block 38 → ₹75.76 (Highest – System, Manual & Vedanjay) - Block 39 → ₹74.00 - Block 43 → ₹63.65 (System & Manual) - Block 40 → ₹54.67 - Block 42 → ₹52.33 - Block 50 → ₹49.38 - Block 44 → ₹43.48 - Block 58 → ₹12.55 (System & Manual) - Block 58 → ₹16.30 (Vedanjay) Major deviations were mainly observed between 09:15 AM and 02:30 PM. After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 21-05-26 | 0.00 | 0.00 | 0.00 | 1768.73 | ZERO PENALTY |  |  | For all sites, the testing account was shut down from Block 61 to Block 66. Due to this shutdown, penalties were observed in Blocks 64 to 66. curtailment was applied in both the testing and production accounts. Due to this, the penalties are comparatively high. |  |
| 20-05-26 | 0.00 | 19.10 | 29.92 | 0.00 | ZERO PENALTY | B54 (13:15–13:30) Rs: 16.17 | B54 (13:15–13:30) Rs: 29.92 | Minor deviation was observed during afternoon hours due to slight over-generation. - Block 54 → ₹16.17 (Highest – System) - Block 54 → ₹29.92 (Highest – Manual) - Block 55 → ₹2.92 (System) |  |

|  |  |  |  |  |  |  |  | Overall, deviations remained within acceptable limits throughout the day. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 19-05-26 | 0.00 | 0.00 | 0.00 | 0.00 | ZERO PENALTY |  |  |  |  |
| 18-05-26 | 4.45 | ZERO PENALTY |  |  | B36 (08:45–09:00) Rs: 4.45 | ZERO PENALTY | ZERO PENALTY | Minor deviation was observed during morning hours due to slight over-generation. - Block 36 → ₹4.45 (Highest – Vedanjay) All remaining blocks stayed within acceptable deviation limits throughout the day. |  |
| 17-05-26 | 0.00 | 0.00 | 0.00 | 13.55 0.00 | ZERO PEANLTY |  |  |  |  |
| 16-05-26 | 0.00 | 0.00 | 0.00 | 0.00 0.00 | ZERO PEANLTY |  |  | No penalty observed |  |
| 15-05-26 | 1045.02 | 111.81 | 296.20 | 133.70 107.43 | B37 (09:00–09:15) Rs:412.10 | B36 (08:45–09:00) Rs:66.22 | B33 (08:00–08:15) Rs:132.65 | Major deviation was observed during the morning period due to significant over-generation and under-generation. - System highest penalty: Block 36 → ₹66.22 - Manual highest penalty: Block 33 → ₹132.65 - Vedanjay highest penalty: Block 37 → ₹412.10 Significant deviations were mainly observed between 08:00 AM and 10:00 AM. After this period, deviations reduced and remained within acceptable limits for the rest of the day. |  |
| 14-05-26 | 757.83 | 461.78 | 759.83 | 460.18 | B53 (13:00–13:15) Rs:94.22 | B43 (10:30–10:45) Rs: 418.90 | B43 (10:30–10:45) Rs: 94.22 | Major deviation was observed during morning and afternoon periods due to significant under-generation and over-generation. - Block 43 → ₹418.90 (Highest – System) - Block 44 → ₹2.83 - Block 52 → ₹88.45 (Manual & Vedanjay) - Block 53 → ₹94.22 (Highest – Manual & Vedanjay) - Block 54 → ₹84.97 - Block 55 → ₹59.73 After this period, deviation gradually reduced and remained within acceptable limits for the rest of the day |  |
| 13-05-26 | 38.12 | 195.47 | 38.12 | 195.47 | B58 (14:15–14:30) Rs: 38.12 | B58 (14:15–14:30) Rs: 94.00 | B58 (14:15–14:30) Rs: 38.12 | Major deviation was observed during the afternoon period due to over-generation, resulting in penalties. - Block 56 → ₹19.30 - Block 57 → ₹52.67 - Block 58 → ₹94.00 (Highest – System) - Block 58 → ₹38.12 (Highest – Manual & Vedanjay) - Block 59 → ₹29.50 After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 12-05-26 | 8.78 | 9.03 | 9.03 | 0.00 | B58 (14:15–14:30) Rs: 8.78 | B58 (14:15–14:30) Rs: 9.03 | B58 (14:15–14:30) Rs: 9.03 | Minor deviation was observed during the afternoon period due to over-generation. - Block 58 → ₹9.03 (Highest – System & Manual) |  |

|  |  |  |  |  |  |  |  | - Block 58 → ₹8.78 (Highest – Vedanjay) All other blocks remained within acceptable deviation limits with negligible penalties. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 11-05-26 | 100 | 99.52 | 99.52 | 14.80 |  | B58 (14:15–14:30) Rs: 34.88 | B58 (14:15–14:30) Rs: 34.88 | Major deviation was observed during the afternoon period due to over-generation, resulting in penalties. - Block 56 → ₹8.87 - Block 57 → ₹28.92 - Block 58 → ₹34.88 (Highest penalty) - Block 59 → ₹26.46 After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 10-05-26 | 122.67 | 282.83 | 122.67 |  | B57 (14:00–14:15) Rs: 59.25 | B58 (14:15–14:30) Rs: 282.83 | B54 (13:15–13:30) Rs: 45.21 | Major deviation was observed during the afternoon period due to over-generation. - Block 54 → ₹45.21 (Highest – Manual) - Block 57 → ₹59.25 (Highest – Vedanjay) - Block 58 → ₹63.03 (Highest – System) - Block 62 → ₹63.00 (System) After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 09-05-26 | 0.00 | 0.00 | 0.00 |  | Zero penalty |  |  |  |  |
| 08-05-26 | 0.00 | 1.70 | 0.00 | 21764.36 | ZERO PENALTY | B61( 15:00-15:15) Rs:1.70 | ZERO PENALTY | Minor penalty observed in system production else has zero penalty |  |
| 07-05-26 | 792.53 | 1395.03 | 1395.03 |  | B62 (15:15–15:30) Rs: 141.80 | B62 (15:15–15:30) Rs: 141.30 | B62 (15:15–15:30) Rs: 141.30 | From Block 50 to 63 (12:15–15:45), deviation increased sharply due to significant over-generation, resulting in major penalties. - Block 53 → ₹100.60 - Block 54 → ₹120.15 - Block 56 → ₹121.03 - Block 60 → ₹139.65 - Block 62 → ₹141.30 (Highest – System & Manual) - Block 62 → ₹141.80 (Highest – Vedanjay) After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 06-05-26 | 1241.44 | 1268.40 | 1268.40 |  | B60 (14:45–15:00) Rs: 205.60 | B60 (14:45–15:00) Rs: 206.10 | B60 (14:45–15:00) Rs: 206.10 | From Block 49 to 63 (12:00–15:45), deviation sharply increased beyond the allowed band due to significant over-generation. The plant experienced a prolonged high-deviation period resulting in major penalties. Key penalty blocks observed: - Block 49 → ₹24.95 - Block 50 → ₹31.88 - Block 52 → ₹32.38 - Block 53 → ₹36.96 - Block 54 → ₹56.58 - Block 55 → ₹56.40 - Block 58 → ₹171.20 - Block 59 → ₹185.58 - Block 60 → ₹206.10 (Highest – System & Manual) - Block 60 → ₹205.60 (Highest – Vedanjay) - Block 61 → ₹187.39 - Block 62 → ₹186.77 |  |

|  |  |  |  |  |  |  | After this period, deviation gradually reduced and remained within acceptable limits for the rest of the day. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 05-05-26 | METER DATA ISSUE |  |  |  |  |  |  |  |
| 04-05-26 | 180.17 | 18.12 | 18.12 | B35 (08:30–08:45) Rs: 63.20 | B62 (15:15–15:30) Rs: 12.60 | B62 (15:15–15:30) Rs: 12.60 | CURTALIMENT ISSUE |  |
| 03-05-26 | 4528.82 | 4527.32 | 4527.32 | B59(14:30–14:45) Rs: 1186.12 | B59(14:30–14:45) Rs: 1186.12 | B59(14:30–14:45) Rs: 1186.12 | From Block 55 to 60 (13:30–15:00) onwards, deviation sharply increased beyond the allowed band. The plant experienced major under-generation - Block 55 → ₹728.77 - Block 56 → ₹917.85 - Block 58 → ₹56.90 - Block 59 → ₹1186.12 (Highest penalty – System & Manual) - Block 59 → ₹1187.63 (Highest penalty – Vedanjay) - Block 60 → ₹1082.03 A smaller deviation was also observed at: - Block 51 → ₹65.98 After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 02-05-26 | 0.00 | 152.32 | 0.00 | ZERO PENALTY | B58 (14:15–14:30) Rs: 152.32 | ZERO PENALTY | At Block 58 (14:15–14:30), a sharp deviation occurred beyond the allowed band. The plant experienced major under-generation - Block 58 → ₹152.32 (Highest penalty – System) For the rest of the day, deviation remained within limits and no penalties were observed in Manual and Vedanjay schedules. |  |

Site Name – Kothagudem State – Telangana

Plant Capacity – 37 MW Schedule Type – Solar

Penalty Rule – DSM as per Telangana SERC bands (≤15% no penalty, >15% slab-based charges with increasing rates)

| Date | Kothagudem Site |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Penalties |  |  |  | High Penalty Blocks (Block No & Time& in Rs penalty) |  |  | Observation |  |
|  | Vedanjay | System Production | Manual edited | Testing | Vedanjay | System Production | Manual edited |  |  |
| 31-05-26 | 133.10 | 190.60 | 133.10 | 190.60 | B57 (14:00–14:15) Rs: 129.50 | B57 (14:00–14:15) Rs: 182.00 | B57 (14:00–14:15) Rs: 129.50 | Highest penalty occurred during Block 57 due to a sharp drop in actual generation compared to scheduled generation. Vedanjay and Manual Edited schedules reduced the penalty compared to System Production. |  |
| 30-05-26 | 468.52 | 1600.33 | 480.25 | 80.47 | B60 (14:45–15:00) Rs: 379.21 | B65 (16:00–16:15) Rs: 1004.47 | B60 (14:45–15:00) Rs: 379.21 | System Production recorded a very high penalty in Block 65 due to zero scheduled generation against significant actual generation. Vedanjay and Manual Edited schedules reduced this penalty substantially, with their highest penalty occurring in Block 60. |  |
| 29-05-26 | 4263.03 | 1418.99 | 1418.99 | 1490.24 | B43 (10:30–10:45) Rs: 880.89 | B36 (08:45–09:00) Rs: 566.67 | B36 (08:45–09:00) Rs: 566.67 | Vedanjay recorded the highest penalty in Block 43 due to significant under-scheduling compared to actual generation. System Production and Manual Edited schedules recorded their highest penalty in Block 36 due to large negative deviation between scheduled and actual generation. |  |
| 28-05-26 | 0.00 | 0.00 | 0.00 | 0.00 | ZERO PENALTY |  |  |  |  |
| 27-05-26 | 17.16 | 927.16 | 17.16 | 910.00 | B55 (13:30–13:45) Rs: 17.16 | B62 (15:15–15:30) Rs: 910.00 | B55 (13:30–13:45) Rs: 17.16 | Vedanjay and Manual Edited schedules had their highest penalty in Block 55, while System Production recorded an extremely high |  |

|  |  |  |  |  |  |  |  | penalty in Block 62 due to zero scheduled generation against high actual generation. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 26-05-26 | 0.00 | 0.00 | 0.00 | 0.00 | ZERO PENALTY |  |  |  |  |
| 25-05-26 | 0.00 | 0.00 | 0.00 | 0.00 | ZERO PENALTY |  |  |  |  |
| 24-05-26 | 0.00 | 0.00 | 0.00 | 0.00 | ZERO PENALTY |  |  |  |  |
| 23-05-26 | 31.61 | 31.61 | 351.56 | 151.61 | B60 (14:45–15:00) Rs: 31.61 | B60 (14:45–15:00) Rs: 31.61 | B36 (08:45–09:00) Rs: 149.29 | Major DSM deviation was observed mainly during morning and afternoon hours due to schedule mismatch and sudden generation variation. Highest penalties observed: - System & Vedanjay → B60 (₹31.61) - Manual Edited → B36 (₹149.29) Major deviations mainly occurred between 08:15 AM to 09:00 AM and 02:45 PM to 03:00 PM. |  |
| 22-05-26 | 9690.15 | 6500.41 | 7669.73 | 4171.37 | B51 (12:30–12:45) Rs: 1564.65 | B51 (12:30–12:45) Rs: 1155.60 | B51 (12:30–12:45) Rs: 1155.60 | Major deviation was observed during noon and afternoon hours due to significant under-generation. Highest penalties were observed at: - Block 51 → ₹1564.65 (Vedanjay) - Block 51 → ₹1155.60 (System & Manual) Additional major penalties were observed from Block 50 to Block 56. Major deviations were mainly observed between 11:00 AM and 03:00 PM. |  |
| 21-05-26 | 0.00 | 0.00 | 0.00 | 41342.83 | ZERO PENALTY |  |  | For all sites, the testing account was shut down from Block 61 to Block 66. Due to this shutdown, penalties were observed in Blocks 64 to 66. curtailment was applied in both the testing and production accounts. Due to this, the penalties are comparatively high. |  |
| 20-05-26 | 53.52 | ZERO PENALTY |  |  | B36 (08:45–09:00) Rs: 53.52 | Zero penalty |  | Minor deviation was observed during morning hours due to over-generation. - Block 36 → ₹53.52 (Highest – Vedanjay) Overall, deviations remained within acceptable limits throughout the day. |  |
| 19-05-26 | 917.64 | 756.25 | 918.89 | 837.64 | B51 (12:30–12:45) Rs: 459.30 | B51 (12:30–12:45) Rs: 476.10 | B51 (12:30–12:45) Rs: 459.30 | Major deviation was observed during afternoon hours due to significant under-generation. - Block 51 → ₹476.10 (Highest – System) - Block 51 → ₹459.30 (Highest – Manual & Vedanjay) - Block 52 → ₹195.66 (System) - Block 52 → ₹259.41 (Manual & Vedanjay) - Block 53 → ₹84.49 (System) - Block 53 → ₹155.74 (Manual & Vedanjay) - Block 55 → ₹44.44 (Manual) - Block 55 → ₹43.19 (Vedanjay) Major deviations were mainly observed between 12:30 PM and 01:45 PM. After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 18-05-26 | 216.24 | 226.45 | 326.45 | 656.28 202.10 | B37 (09:00–09:15) Rs: 189.50 | B37 (09:00–09:15) Rs: 189.50 | B37 (09:00–09:15) Rs: 189.50 | Major deviation was observed during morning hours due to significant under-generation. |  |

|  |  |  |  |  |  |  |  | - Block 37 → ₹189.50 (Highest – System, Manual & Vedanjay) - Block 36 → ₹33.96 (System) - Block 36 → ₹110.21 (Manual) - Block 51 → ₹26.74 (Manual & Vedanjay) Major deviations were mainly observed between 08:45 AM and 09:15 AM. After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 17-05-26 | 429.38 | 127.62 | 143.30 | 553.56 202.10 | B34 (08:15–08:30) Rs:205.48 | B38 (09:15–09:30) Rs:127.62 | B38 (09:15–09:30) Rs:127.62 | Major deviation was observed during morning hours due to significant under-generation and over-generation. - System & Manual highest penalty: Block 38 → ₹127.62 - Vedanjay highest penalty: Block 34 → ₹205.48 Additional penalties were observed at: - Block 33 → ₹81.86 (Vedanjay) - Block 46 → ₹15.68 Major deviations were mainly concentrated between 08:00 AM and 11:30 AM. |  |
| 16-05-26 | 268.23 | 0.00 | 143.92 | 0.00 0.00 | B45 (11:00–11:15) Rs:85.96 | ZERO PENALTY | B45 (11:00–11:15) Rs:85.96 | Major deviation was observed during morning and noon periods due to significant over-generation. - Highest penalty observed at Block 45 (11:00–11:15) - Manual & Vedanjay → ₹85.96 Additional penalties were observed at: - Block 36 → ₹74.59 (Vedanjay) - Block 39 → ₹49.72 (Vedanjay) - Block 44 → ₹36.15 - Block 48 → ₹21.81 Overall, major deviations were concentrated between 08:45 AM and 12:00 PM. |  |
| 15-05-26 | 1228.08 | 154.83 | 38.15 | 465.08 168.58 | Block 42 (10:15–10:30) Rs:1025.20 | Block 45 (11:00–11:15) Rs: 70.65 | Block 45 (11:00–11:15) Rs:38.15 | Major deviation was observed during morning and noon periods due to significant over-generation. - System highest penalty: Block 45 → ₹70.65 - Manual highest penalty: Block 45 → ₹38.15 - Vedanjay highest penalty: Block 42 → ₹1025.20 Large deviations were mainly observed between 08:45 AM and 11:30 AM. After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 14-05-26 | 274.77 | 274.77 | 274.77 | 228.65 | B39 (09:30–09:45) Rs:194.07 | B39 (09:30–09:45) Rs:194.07 | B39 (09:30–09:45) Rs:194.07 | Major deviation was observed during the morning period due to significant over-generation. - Block 39 → ₹193.57 (Highest – System & Manual) - Block 39 → ₹194.07 (Highest – Vedanjay) - Block 40 → ₹80.70 After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |

| 13-05-26 | 120.97 | 0.00 | 0.00 | 0.00 | B36 (08:45–09:00) Rs: 90.82 | ZEROPENALTY |  | System and Manual Edited schedules maintained deviations within acceptable limits and no penalties were observed throughout the day. Minor penalties were observed in the Vedanjay schedule during the morning period due to over-generation: - Block 35 → ₹30.15 - Block 36 → ₹90.82 (Highest – Vedanjay) After this period, deviation remained within acceptable limits for the rest of the day. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12-05-26 | 0.00 | 0.00 | 0.00 | 0.00 | ZEROPENALTY |  |  |  |  |
| 11-05-26 | 0.00 | 521.17 | 521.17 | 579.42 |  | B55 (13:30–13:45) Rs: 184.01 | B55 (13:30–13:45) Rs: 184.01 | Major deviation was observed during the afternoon period due to significant over-generation, resulting in high penalties. - Block 55 → ₹184.01 (Highest penalty) - Block 56 → ₹164.62 - Block 58 → ₹91.19 - Block 60 → ₹81.36 After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 10-05-26 | 1079.35 | 44.92 | 44.92 |  | B65 (16:00–16:15) Rs: 427.46 | B60 (14:45–15:00) Rs: 28.54 | B60 (14:45–15:00) Rs: 28.54 | Moderate deviation was observed during the afternoon period due to over-generation. - Block 59 → ₹16.38 - Block 60 → ₹28.54 (Highest – System & Manual) A major deviation was observed in the Vedanjay schedule during evening blocks: - Block 65 → ₹427.46 (Highest – Vedanjay) - Block 66 → ₹368.23 - Block 67 → ₹214.88 After this period, deviation gradually reduced and remained within acceptable limits for the rest of the day. |  |
| 09-05-26 | 628.82 | 628.69 | 628.69 |  | B64 (15:45–16:00) Rs:245.10 | B64 (15:45–16:00) Rs:245.10 | B64 (15:45–16:00) Rs:245.23 | Major deviation was observed during the afternoon period due to significant over-generation. Key penalty blocks observed: - Block 62 → ₹162.77 - Block 64 → ₹245.10 (Highest – System & Manual) - Block 64 → ₹245.23 (Highest – Vedanjay) - Block 65 → ₹220.82 After this period, deviation gradually reduced and remained within acceptable limits for the rest of the day. |  |
| 08-05-26 | 7916.31 | 8975.90 | 7916.56 | 58985.47 | B57 (14:00–14:15) Rs: 2501.41 | B57 (14:00–14:15) Rs: 2499.54 | B57 (14:00–14:15) Rs: 2499.54 | Major deviation was observed from Block 56 to 68 (13:45–17:00) due to severe under-generation followed by over-generation, resulting in very high penalties. Key penalty blocks observed: - Block 56 → ₹511.19 - Block 57 → ₹2499.54 (Highest – System & Manual) - Block 57 → ₹2501.41 (Highest – Vedanjay) - Block 58 → ₹1342.65 - Block 60 → ₹429.91 - Block 61 → ₹2024.91 - Block 62 → ₹998.90 |  |

|  |  |  |  |  |  |  |  | - Block 64 → ₹425.17 - Block 65 → ₹347.83 - Block 66 → ₹231.33 After this period, deviation gradually reduced and remained within acceptable limits for the rest of the day. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 07-05-26 | 582.83 | 607.08 | 607.08 |  | B59 (14:30–14:45) Rs: 182.11 | B59 (14:30–14:45) Rs: 181.74 | B59 (14:30–14:45) Rs: 181.74 | Major deviation periods were observed during the day due to both under-generation and over-generation. A significant under-generation event occurred at: - Block 36 → ₹161.69 (System & Manual), ₹137.94 (Vedanjay) Another major over-generation period was observed from Block 56 to 59 (13:45–14:45): - Block 56 → ₹84.03 - Block 58 → ₹61.46 - Block 59 → ₹181.74 (Highest – System & Manual) - Block 59 → ₹182.11 (Highest – Vedanjay) After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 06-05-26 | 407.55 | 313.88 | 305.89 |  | B38 (09:15–09:30) Rs:130.72 | B38 (09:15–09:30) Rs:130.47 | B38 (09:15–09:30) Rs:130.47 | Multiple deviation periods were observed during the day due to both over-generation and under-generation. A major morning deviation occurred from Block 37 to 40 (09:00–10:00): - Block 37 → ₹106.19 - Block 38 → ₹130.47 (Highest – System & Manual) - Block 38 → ₹130.72 (Highest – Vedanjay) - Block 40 → ₹69.22 (under-generation event) Another smaller deviation was observed at: - Block 34 → ₹7.99 (System), ₹76.61 (Vedanjay) A later afternoon deviation was also observed at: - Block 60 → ₹25.42 (Vedanjay) After these periods, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| 05-05-26 | METER DATA ISSUE |  |  |  |  |  |  |  |  |
| 04-05-26 | 1368.37 | 30295.16 | 1368.62 |  | B59 (14:30–14:45) Rs: 286.22 | B40 (09:45–10:00) Rs: 5681.10 | B59 (14:30–14:45) Rs: 286.10 | CURTALIMENT ISSUE |  |
| 03-05-26 | 3353.55 | 3355.68 | 3355.68 |  | B43 (10:30–10:45) Rs: 1088.79 | B43 (10:30–10:45) Rs: 1088.79 | B43 (10:30–10:45) Rs: 1088.79 | From Block 42 to 44 (10:15–11:00), deviation sharply increased beyond the allowed band due to significant under-generation, resulting in high penalties. The highest penalty was observed at: - Block 43 → ₹1088.79 (System & Manual), ₹1087.54 (Vedanjay) Another deviation period was observed from Block 64 to 67 (15:45–16:45), where under-generation again led to moderate penalties: - Block 64 → ₹357.78 - Block 65 → ₹344.63 - Block 66 → ₹163.58 - Block 67 → ₹109.58 |  |

|  |  |  |  |  |  |  | After these periods, deviation reduced and remained within acceptable limits for the rest of the day. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 02-05-26 | 505.28 | 504.78 | 736.53 | B64 (15:45–16:00) Rs: 249.57 | B64 (15:45–16:00) Rs: 292.07 | B64 (15:45–16:00) RS: 249.57 | From Block 62 to 65 (15:15–16:15) onwards, deviation sharply increased beyond the allowed band. The plant experienced major under-generation - Block 62 → ₹115.02 - Block 63 → ₹89.65 - Block 64 → ₹249.57 (Highest penalty – System & Vedanjay) - Block 65 → ₹50.54 Manual schedule showed even higher impact at Block 64 (₹292.07) After this period, deviation reduced and remained within acceptable limits for the rest of the day. |  |

OSEPL

Net Settlement (₹) = Receivable - Payable - DSM Penalty

- Positive (+ve) value → Good, profit/receivable is higher after deductions

- Negative (-ve) value → Loss/payable and DSM penalty are higher than receivable

DATE-31-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-31 / May-26 / ESSEL | 129372 | 20 | 100% | 131723 | 1035459 | 29648 | 15226 | 174246 |
| Manual | 2026-05-31 / May-26 / ESSEL | 8598 | 20 | 100% | 131723 | 1211450 | 2039 | 42642 | 53279 |
| Vedanjay (UI) | 2026-05-31 / May-26 / ESSEL | 143378 | 20 | 100% | 131723 | 1066120 | 7152 | 8997 | 159527 |
| Actual Vedanjay |  |  |  |  |  |  |  |  |  |
| Testing Env | 2026-05-31 / May-26 / ESSEL | 74174 | 20 | 100% | 131723 | 1091357 | 29298 | 20579 | 124051 |

# DATE-30-05-26

DATE-29-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-29 / May-26 / ESSEL | 133850 | 20 | 100% | 130998 | 1049596 | 16922 | 23059 | 173831 |
| Manual | S3 Data Not Available |  |  |  |  |  |  |  |  |
| Vedanjay (UI) | 2026-05-29 / May-26 / ESSEL | 103629 | 20 | 100% | 130998 | 1110824 | 1279 | 15342 | 120250 |
| Actual Vedanjay |  |  |  |  |  |  |  |  |  |
| Testing Env | 2026-05-29 / May-26 / ESSEL | 67939 | 20 | 100% | 130998 | 1114277 | 17537 | 33145 | 118621 |

# DATE-28-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-28 / May-26 / ESSEL | 128829 | 20 | 100% | 128630 | 1062110 | 2341 | 15852 | 147022 |
| Manual | 2026-05-28 / May-26 / ESSEL | 21983 | 20 | 100% | 128630 | 1171288 | 1175 | 44172 | 67330 |
| Vedanjay (UI) | 2026-05-28 / May-26 / ESSEL | 59073 | 20 | 100% | 128630 | 1136641 | 0 | 5214 | 64287 |
| Actual Vedanjay |  |  |  |  |  |  |  |  |  |
| Testing Env | 2026-05-28 / May-26 / ESSEL | 62679 | 20 | 100% | 128630 | 1127881 | 2531 | 34345 | 99555 |

# DATE-27-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-27 / May-26 / ESSEL | -93632 | 20 | 100% | 96780 | 943547 | 29377 | 157868 | 93613 |
| Manual | 2026-05-27 / May-26 / ESSEL | -374750 | 20 | 100% | 96780 | 1128854 | 77282 | 354587 | 57119 |
| Vedanjay (UI) | 2026-05-27 / May-26 / ESSEL | -28074 | 20 | 100% | 96780 | 788576 | 71245 | 86950 | 130121 |
| Actual Vedanjay |  |  |  |  |  |  |  |  |  |
| Testing Env | 2026-05-27 / May-26 / ESSEL | -181437 | 20 | 100% | 96780 | 1030778 | 29768 | 198413 | 46744 |

# DATE-26-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-26 / May-26 / ESSEL | -29776 | 20 | 100% | 110463 | 931959 | 62362 | 123722 | 156308 |
| Manual | 2026-05-26 / May-26 / ESSEL | -179829 | 20 | 100% | 110463 | 1132840 | 36948 | 212295 | 69414 |
| Vedanjay (UI) | 2026-05-26 / May-26 / ESSEL | 36649 | 20 | 100% | 110463 | 944428 | 22939 | 59455 | 119043 |
| Actual Vedanjay |  |  |  |  |  |  |  |  |  |
| Testing Env | 2026-05-26 / May-26 / ESSEL | -41747 | 20 | 100% | 110463 | 1007070 | 30804 | 139903 | 128960 |

# DATE-25-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-25 / May-26 / ESSEL | -86800 | 20 | 100% | 106865 | 958866 | 61291 | 120139 | 94630 |
| Manual | 2026-05-25 / May-26 / ESSEL | -202540 | 20 | 100% | 106865 | 1119051 | 39323 | 208712 | 45495 |
| Vedanjay (UI) | 2026-05-25 / May-26 / ESSEL | -82326 | 20 | 100% | 106865 | 993605 | 41893 | 122023 | 81590 |
| Actual Vedanjay |  |  |  |  |  |  |  |  |  |
| Testing Env | 2026-05-25 / May-26 / ESSEL | -78429 | 20 | 100% | 106865 | 966606 | 52760 | 118932 | 93263 |

# DATE-24-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-24 / May-26 / ESSEL | 59810 | 20 | 100% | 134798 | 1011148 | 90709 | 27868 | 178387 |
| Manual | 2026-05-24 / May-26 / ESSEL | 65154 | 20 | 100% | 134798 | 1164984 | 11119 | 49027 | 125300 |
| Vedanjay (UI) | 2026-05-24 / May-26 / ESSEL | 85737 | 20 | 100% | 134798 | 1111992 | 27208 | 48772 | 161717 |
| Actual Vedanjay |  |  |  |  |  |  |  |  |  |
| Testing Env | 2026-05-24 / May-26 / ESSEL | 47935 | 20 | 100% | 134798 | 1126004 | 39219 | 56883 | 144037 |

# DATE-23-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-23 / May-26 / ESSEL | -11156 | 20 | 100% | 102285 | 944543 | 9692 | 86002 | 84538 |

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Manual | 2026-05-23 / May-26 / ESSEL | -159968 | 20 | 100% | 102285 | 1062481 | 25129 | 172640 | 37801 |
| Vedanjay (UI) | 2026-05-23 / May-26 / ESSEL | 13884 | 20 | 100% | 102285 | 895816 | 20933 | 86624 | 121441 |
| Actual Vedanjay |  |  |  |  |  |  |  |  |  |
| Testing Env | 2026-05-23 / May-26 / ESSEL | -110818 | 20 | 100% | 102285 | 1025865 | 18862 | 138051 | 46095 |

# DATE-22-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-22 / May-26 / ESSEL | -471167 | 20 | 100% | 75808 | 892052 | 144529 | 426733 | 100095 |
| Manual | 2026-05-22 / May-26 / ESSEL | -604547 | 20 | 100% | 75808 | 992655 | 160941 | 540522 | 96916 |
| Vedanjay (UI) | 2026-05-22 / May-26 / ESSEL | -140950 | 20 | 100% | 75808 | 646861 | 101228 | 130804 | 91082 |
| Actual Vedanjay |  |  |  |  |  |  |  |  |  |
| Testing Env | 2026-05-22 / May-26 / ESSEL | -512728 | 20 | 100% | 75808 | 952261 | 135205 | 471676 | 94153 |

# DATE-21-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-21 / May-26 / ESSEL | -336932 | 20 | 100% | 113268 | 383175 | 500297 | 26744 | 190109 |
| Manual | 2026-05-21 / May-26 / ESSEL | 45418 | 20 | 100% | 113268 | 995876 | 2772 | 43351 | 91541 |
| Vedanjay (UI) | 2026-05-21 / May-26 / ESSEL | 84839 | 20 | 100% | 113268 | 959723 | 1022 | 18661 | 104522 |
| Actual Vedanjay | 21-05-2026 / May-26 / ESSEL | 90887 | 20 | 100% | 113235 | 959723 | 1022 | 18661 | 110570 |
| Testing Env | 2026-05-21 / May-26 / ESSEL | -163620 | 20 | 100% | 113268 | 684056 | 266225 | 32248 | 134853 |

# DATE-20-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-20 / May-26 / ESSEL | -37112 | 20 | 100% | 100778 | 914439 | 32137 | 122139 | 117164 |
| Manual | 2026-05-20 / May-26 / ESSEL | -249877 | 20 | 100% | 100778 | 1138333 | 26572 | 246271 | 22966 |

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Vedanjay (UI) | 2026-05-20 / May-26 / ESSEL | -42332 | 20 | 100% | 100778 | 899236 | 41085 | 109822 | 108575 |
| Actual Vedanjay |  |  |  |  |  |  |  |  |  |
| Testing Env | 2026-05-20 / May-26 / ESSEL | -81029 | 20 | 100% | 100778 | 987093 | 17768 | 150795 | 87534 |

# DATE-19-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-19 / May-26 / ESSEL | -105024 | 20 | 100% | 89055 | 911820 | 11423 | 134607 | 41006 |
| Manual | 2026-05-19 / May-26 / ESSEL | -112658 | 20 | 100% | 89055 | 901183 | 20559 | 128155 | 36056 |
| Vedanjay (UI) | 2026-05-19 / May-26 / ESSEL | -3865 | 20 | 100% | 89055 | 815799 | 8599 | 63447 | 68181 |
| Actual Vedanjay |  |  |  |  |  |  |  |  |  |
| Testing Env | 2026-05-19 / May-26 / ESSEL | -198772 | 20 | 100% | 89055 | 986583 | 20858 | 201205 | 23291 |

# DATE-18-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-18 / May-26 / ESSEL | -23919 | 20 | 100% | 99903 | 942342 | 227 | 55449 | 41757 |

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Manual | 2026-05-18 / May-26 / ESSEL | -289869 | 20 | 100% | 99903 | 1165726 | 26510 | 263938 | 579 |
| Vedanjay (UI) | 2026-05-18 / May-26 / ESSEL | 1839 | 20 | 100% | 99903 | 926479 | 245 | 46283 | 48367 |
| Actual Vedanjay |  |  |  |  |  |  |  |  |  |
| Testing Env | 2026-05-18 / May-26 / ESSEL | -139089 | 20 | 100% | 99898 | 1052393 | 7752 | 135956 | 4619 |

# DATE-17-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-17 / May-26 / ESSEL | 79500 | 20 | 100% | 121938 | 945749 | 54572 | 40046 | 174118 |
| Manual | 2026-05-17 / May-26 / ESSEL | -125247 | 20 | 100% | 121938 | 1120928 | 7356 | 81231 | 87340 |
| Vedanjay (UI) | 2026-05-17 / May-26 / ESSEL | 109105 | 20 | 100% | 121938 | 987665 | 18255 | 26764 | 154124 |
| Actual Vedanjay | 17-05-2026 / May-26 / ESSEL | 110616 | 20 | 100% | 121868 | 985635 | 18515 | 26764 | 155895 |
| Testing Env | 2026-05-17 / May-26 / ESSEL | 41822 | 20 | 100% | 121930 | 1072595 | 9432 | 36838 | 88092 |

# DATE-16-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-16 / May-26 / ESSEL | 99259 | 20 | 100% | 128233 | 1052122 | 20765 | 42097 | 162121 |
| Manual | 2026-05-16 / May-26 / ESSEL | -226564 | 20 | 100% | 128233 | 443894 | 487141 | 0 | 260577 |
| Vedanjay (UI) | 2026-05-16 / May-26 / ESSEL | 94235 | 20 | 100% | 128233 | 1075867 | 10900 | 31736 | 136871 |
| Actual Vedanjay | 16-05-2026 / May-26 / ESSEL | 94235 | 20 | 100% | 128165 | 1075867 | 10900 | 31736 | 136871 |
| Testing Env | 2026-05-16 / May-26 / ESSEL | -1536 | 20 | 100% | 128233 | 1178827 | 7810 | 56134 | 62408 |

# DATE-15-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-15 / May-26 / ESSEL | -367078 | 20 | 100% | 84925 | 836641 | 167838 | 328072 | 128832 |
| Manual | 2026-05-15 / May-26 / ESSEL | -562847 | 20 | 100% | 84925 | 1119677 | 124204 | 490791 | 52148 |
| Vedanjay (UI) | 2026-05-15 / May-26 / ESSEL | -21692 | 20 | 100% | 84925 | 664682 | 76304 | 59676 | 114288 |
| Actual Vedanjay |  |  |  |  |  |  |  |  |  |
| Testing Env | 2026-05-15 / May-26 / ESSEL | -430944 | 20 | 100% | 84925 | 932652 | 151580 | 388499 | 109135 |

# DATE-14-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-14 / May-26 / ESSEL | 31134 | 20 | 100% | 105358 | 835023 | 58660 | 66636 | 156430 |
| Manual | 2026-05-14 / May-26 / ESSEL | -151387 | 20 | 100% | 105358 | 1004379 | 65243 | 199625 | 113481 |
| Vedanjay (UI) | 2026-05-14 / May-26 / ESSEL | 114961 | 20 | 100% | 105358 | 778249 | 43813 | 11031 | 169805 |
| Actual Vedanjay |  |  |  |  |  |  |  |  |  |
| Testing Env | 2026-05-14 / May-26 / ESSEL | 55745 | 20 | 100% | 105353 | 835023 | 45063 | 46744 | 147552 |

# DATE-13-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-13 / May-26 / ESSEL | -142067 | 20 | 100% | 100610 | 960599 | 60445 | 181726 | 100104 |
| Manual | 2026-05-13 / May-26 / ESSEL | -190828 | 20 | 100% | 100610 | 1038972 | 45639 | 208559 | 63370 |
| Vedanjay (UI) | 2026-05-13 / May-26 / ESSEL | 4139 | 20 | 100% | 100610 | 836571 | 48000 | 62767 | 114906 |
| Actual Vedanjay |  |  |  |  |  |  |  |  |  |
| Testing Env | 2026-05-13 / May-26 / ESSEL | -67598 | 20 | 100% | 100605 | 934613 | 34865 | 131673 | 98940 |

# DATE-12-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-12 / May-26 / ESSEL | 21387 | 20 | 100% | 115340 | 981327 | 34739 | 77036 | 133162 |
| Manual | 2026-05-12 / May-26 / ESSEL | -109761 | 20 | 100% | 115340 | 1135482 | 23235 | 152014 | 65488 |
| Vedanjay (UI) | 2026-05-12 / May-26 / ESSEL | -1295 | 20 | 100% | 115340 | 1026768 | 28278 | 93483 | 110466 |
| Actual Vedanjay | 12-05-2026 / May-26 / ESSEL | -1295 | 20 | 100% | 115290 | 1026768 | 28278 | 93483 | 110466 |
| Testing Env | 2026-05-12 / May-26 / ESSEL | -9992 | 20 | 100% | 115335 | 1019417 | 36310 | 83868 | 100186 |

# DATE-11-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-11 / May-26 / ESSEL | 2561 | 20 | 100% | 117898 | 999737 | 46696 | 81686 | 130943 |
| Manual | 2026-05-11 / May-26 / ESSEL | -13774 | 20 | 100% | 117898 | 1054905 | 27280 | 108833 | 122339 |
| Vedanjay (UI) |  |  |  |  |  |  |  |  |  |
| Actual Vedanjay | 11-05-2026 / May-26 / ESSEL | 52183 | 20 | 100% | 117948 | 1000073 | 21648 | 74165 | 147996 |
| Testing Env | 2026-05-11 / May-26 / ESSEL | -5698 | 20 | 100% | 117893 | 1011765 | 44755 | 90074 | 129131 |

# DATE-10-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-10 / May-26 / ESSEL | 95307 | 20 | 100% | 126388 | 961202 | 59058 | 29452 | 183817 |
| Manual | 2026-05-10 / May-26 / ESSEL | 20588 | 20 | 100% | 126388 | 1114463 | 19787 | 66246 | 106621 |
| Vedanjay (UI) | 2026-05-10 / May-26 / ESSEL | 129920 | 20 | 100% | 126388 | 991264 | 26674 | 12607 | 169201 |
| Actual Vedanjay | 10-05-2026 / May-26 / ESSEL | 129920 | 20 | 100% | 126373 | 991264 | 26674 | 12607 | 169201 |
| Testing Env | 2026-05-10 / May-26 / ESSEL | 113782 | 20 | 100% | 126383 | 963218 | 48743 | 10174 | 172699 |

# DATE-09-05-26 DATE-08-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-08 / May-26 / ESSEL | -102974 | 20 | 100% | 106118 | 929171 | 80679 | 124139 | 101844 |
| Manual | 2026-05-08 / May-26 / ESSEL | -145655 | 20 | 100% | 106118 | 1051125 | 41043 | 166642 | 62030 |
| Vedanjay (UI) | 2026-05-08 / May-26 / ESSEL | -57529 | 20 | 100% | 106118 | 887188 | 78671 | 101861 | 123003 |
| Actual Vedanjay | 08-05-2026 / May-26 / ESSEL | -57529 | 20 | 100% | 106128 | 887188 | 78671 | 101861 | 123003 |
| Testing Env | 2026-05-08 / May-26 / ESSEL | -41981 | 20 | 100% | 106118 | 691313 | 167502 | 44338 | 169859 |

# DATE-07-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-07 / May-26 / ESSEL | -4106 | 20 | 100% | 118185 | 950020 | 76817 | 82949 | 155650 |
| Manual | 2026-05-07 / May-26 / ESSEL | -57357 | 20 | 100% | 118185 | 1094277 | 31309 | 123796 | 97748 |
| Vedanjay (UI) | 2026-05-07 / May-26 / ESSEL | 4116 | 20 | 100% | 118185 | 946537 | 73979 | 76315 | 154410 |
| Actual Vedanjay | 07-05-2026 / May-26 / ESSEL | 4116 | 20 | 100% | 118195 | 946537 | 73979 | 76315 | 154410 |

# DATE-06-05-26

| Type | Project Details | Net Settlement (₹) | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-06 / May-26 / ESSEL | -633 | 20 | 100% | 125258 | 968796 | 98519 | 60034 | 157912 |
| Manual | 2026-05-06 / May-26 / ESSEL | -1300 | 20 | 100% | 125258 | 1007686 | 79403 | 70261 | 148364 |
| Vedanjay (UI) | 2026-05-06 / May-26 / ESSEL | 45026 | 20 | 100% | 125258 | 1027487 | 45876 | 65289 | 156191 |
| Actual Vedanjay | 06-05-2026 / May-26 / ESSEL | 45026 | 20 | 100% | 125268 | 1027487 | 45876 | 65289 | 156191 |

# DATE-05-05-26

| Type | From / Month / Project | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-05 / May-26 / ESSEL | 20 | 48% | 123145 | 0 | 847264 | 0 | 294290 |
| Manual | 2026-05-05 / May-26 / ESSEL | 20 | 48% | 123145 | 1198333 | 30375 | 123490 | 51805 |

| Type | From / Month / Project | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Vedanjay (UI) | 2026-05-05 / May-26 / ESSEL | 20 | 48% | 123145 | 1024219 | 58274 | 53789 | 119282 |
| Actual Vedanjay | 05-05-2026 / May-26 / ESSEL | 20 | 100% | 122783 | 1024219 | 58274 | 60220 | 119282 |

# DATE-04-05-26

| Type | From / Month / Project | Installed Capacity | SCADA Availability | Generation (kWh) | Scheduled Units | DSM Penalty (₹) | Payable (₹) | Receivable (₹) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System (Auto) | 2026-05-04 / May-26 / ESSEL | 20 | 52% | 135940 | 1115689 | 1212 | 3597 | 146860 |
| Manual | 2026-05-04 / May-26 / ESSEL | 20 | 52% | 135940 | 1277893 | 0 | 28505 | 10776 |
| Vedanjay (UI) | 2026-05-04 / May-26 / ESSEL | 20 | 52% | 135940 | 1187510 | 0 | 9571 | 82225 |
| Actual Vedanjay | 04-05-2026 / May-26 / ESSEL | 20 | 100% | 135640 | 1194764 | 0 | 15991 | 81414 |

Site Name – Anajangaon State – Madhya Pradesh

Plant Capacity – 7.5   Plant Type : Solar

Penalty Rule – DSM as per Madhya Pradesh SERC bands (≤10% no penalty, >10% slab-based charges)

| Date | Anajangaon Site |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Penalties |  |  |  | High Penalty Blocks (Block No & Time& in Rs penalty) |  |  | Observation |  |
|  | Vedanjay | System Production | Manual edited | Testing | Vedanjay | System Production | Manual edited |  |  |